EXTENDED DETENTION BASIN WITH A SHALLOW MARSH

AS-BUILT CERTIFICATION

| Project Name (as it appears on approved plans) : ________________________________ |
| --- |
| Plans approved by the Director of Public Works on: __________________________ |
| As-Built conditions field verified on _________________ Signature _________________________________ Print Name _________________________________ (seal) |
| GENERAL |
| Is the facility located on the site according to the approved plans with respect to distances from ROW, curb lines, parking areas, sidewalks, structures, etc.? | YES / NO |
| Is the facility in need of maintenance (ie. clogged inlets/outlets, accumulation of sediment/trash/debris, etc.)? | YES / NO |
| Is there evidence of geotechnical failure, structural problems, or poor construction methods (slope failure, concrete failure, poorly compacted dam, poorly grouted or separating pipes)? If yes, explain. ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ | YES / NO |
| Is the embankment height greater than 3 feet? If yes, a geotechnical certification must be submitted in accordance with Section 3-14 of the Henrico County Design Manual stating that construction compaction requirements have been achieved.. | YES / NO |
| Are barriers (ie. guardrail, bollards, fencing) provided in accordance with the approved plans? | YES / NO |
| BASINS |
|  | Designed | As-Built |
| Bottom |  |  |
| Lowest Elevation |  |  |
| Surface Area at Lowest Elevation |  |  |
| High Marsh |  |  |
| Depth |  |  |
| Volume |  |  |
| Varied Plant Types | YES / NO | YES / NO |
| Low Marsh |  |  |
| Depth |  |  |
| Volume |  |  |
| Varied Plant Types | YES / NO | YES / NO |
| Top |  |  |
| Uppermost Continuous Contour |  |  |
| Surface Area at Uppermost Continuous Contour |  |  |
| Dam |  |  |
| Elevation of Top |  |  |
| Width at Top |  |  |
| Back Slope |  |  |
| Side Slopes |  |  |
| Above Water Surface Elevation |  |  |
| Below Water Surface Elevation |  |  |
| Emergency Spillway |  |  |
| Length |  |  |
| Elevation |  |  |
| INLET STRUCTURES |
|  | Designed | As-Built |
| Structure # ___________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Invert at Discharge Into Basin |  |  |
| Structure # ___________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Invert at Discharge Into Basin |  |  |
| Structure # ___________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Invert at Discharge Into Basin |  |  |
| Structure # ___________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Invert at Discharge Into Basin |  |  |
| Structure # ___________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Invert at Discharge Into Basin |  |  |
| OUTLET (PIPE / BARREL / WEIR / RISER / CHANNEL) STRUCTURES |
|  | Designed | As-Built |
| Structure # ___________________________ |  |  |
| Type | PIPE / BARREL / WEIR / RISER / CHANNEL | PIPE / BARREL / WEIR / RISER / CHANNEL |
| Material |  |  |
| Size |  |  |
| Length |  |  |
| Invert In |  |  |
| Invert Out |  |  |
| Structure # ___________________________ |  |  |
| Type | PIPE / BARREL / WEIR / RISER / CHANNEL | PIPE / BARREL / WEIR / RISER / CHANNEL |
| Material |  |  |
| Size |  |  |
| Length |  |  |
| Invert In |  |  |
| Invert Out |  |  |
| Structure # ___________________________ |  |  |
| Type | PIPE / BARREL / WEIR / RISER / CHANNEL | PIPE / BARREL / WEIR / RISER / CHANNEL |
| Material |  |  |
| Size |  |  |
| Length |  |  |
| Invert In |  |  |
| Invert Out |  |  |
| Structure # ___________________________ |  |  |
| Type | PIPE / BARREL / WEIR / RISER / CHANNEL | PIPE / BARREL / WEIR / RISER / CHANNEL |
| Material |  |  |
| Size |  |  |
| Length |  |  |
| Invert In |  |  |
| Invert Out |  |  |
| WATER QUALITY / WATER QUANTITY CONTROL ORIFICES |
|  | Designed | As-Built |
| Structure # _________________________ |  |  |
| # of Orifices |  |  |
| Size (diameter or length/width) |  |  |
| Lowest Elevation |  |  |
| Wire Mesh / Stone | YES / NO | YES / NO |
| Structure # _________________________ |  |  |
| # of Orifices |  |  |
| Size (diameter or length/width) |  |  |
| Lowest Elevation |  |  |
| Wire Mesh / Stone | YES / NO | YES / NO |
| Structure # _________________________ |  |  |
| # of Orifices |  |  |
| Size (diameter or length/width) |  |  |
| Lowest Elevation |  |  |
| Wire Mesh / Stone | YES / NO | YES / NO |
| ANTI-VORTEX / TRASH RACK STRUCTURES |
|  | Designed | As-Built |
| Structure # _________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Structure # _________________________ |  |  |
| Material |  |  |
| Size |  |  |
| Structure # _________________________ |  |  |
| Material |  |  |
| Size |  |  |
| FOREBAYS |
|  | Designed | As-Built |
| Number of Forebays provided: |  |  |
| Structure # _________________________ |  |  |
| Material | Stone / Earth / Both | Stone / Earth / Both |
| Top Elevation |  |  |
| Bottom Elevation |  |  |
| Storage Volume |  |  |
| Structure # _________________________ |  |  |
| Material | Stone / Earth / Both | Stone / Earth / Both |
| Top Elevation |  |  |
| Bottom Elevation |  |  |
| Storage Volume |  |  |
| Structure # _________________________ |  |  |
| Material | Stone / Earth / Both | Stone / Earth / Both |
| Top Elevation |  |  |
| Bottom Elevation |  |  |
| Storage Volume |  |  |
| OTHER |