RFP # 13-9392-3KS

April 5, 2013

REQUEST FOR PROPOSAL

ANNUAL CONTRACT FOR FIRE STATION ALERTING SYSTEM

DIVISION OF FIRE, COUNTY OF HENRICO, VIRGINIA

Your firm is invited to submit a proposal to provide a Fire Station Alerting System for the County of Henrico Division of Fire in accordance with the enclosed specifications and terms included herein.  The submittal consisting of the original proposal and eight (8) additional hard copies marked, “Annual Contract for Fire Station Alerting System” will be received no later than 2:00 p.m., May 10, 2013 by:

IN PERSON OR SPECIAL COURIER	U.S. POSTAL SERVICE

County of Henrico	County of Henrico

Department of General Services	Department of General Services

Purchasing Office                                                    OR	P.O. Box 90775

1590 E. Parham Road	Henrico, Virginia 23273-0775

Henrico, Virginia  23228

This RFP and any addenda are available on the County of Henrico website at: www.co.henrico.va.us.  The Bids and Proposals link is listed under the Henrico Business Section on the home page.  To download the RFP, click the link and save the document to your hard drive. To receive an email copy of this document, please send a request to: edw@co.henrico.va.us

Time is of the essence and any proposal received after 2:00 p.m., May 10, 2013 whether by mail or otherwise, will be returned unopened.  The time of receipt shall be determined by the time clock stamp in the Purchasing Office, Department of General Services.  Proposals shall be placed in a sealed, opaque envelope, marked in the lower left-hand corner with the RFP number, title, and date and hour proposals are scheduled to be received.  Offerors are responsible for insuring that their proposal is stamped by Purchasing Office personnel by the deadline indicated.

A pre-proposal conference will be held on April 12, 2013 at 10:00 a.m. in the Purchasing Office, North Run Office Complex, 1590 East Parham Road, Henrico, VA 23228.  Offerors are strongly encouraged to attend the pre-proposal conference in order to ask questions regarding the RFP requirements and to familiarize themselves with the purchasing procedures.  Only two representatives from each firm will be allowed to attend the meeting.  A teleconference number has been established for suppliers who are unable to travel to the County of Henrico.  To join the meeting, call 804-727-8383; enter meeting ID 7002, and password 911911.  It is limited to one caller from each supplier.

The awarding authority for this contract is the Director of General Services, County of Henrico.

Nothing herein is intended to exclude any responsible firm or in any way restrain or restrict competition. On the contrary, all responsible firms are encouraged to submit proposals.  The County of Henrico reserves the right to accept or reject any or all proposals submitted.

Technical questions concerning this Request for Proposal should be submitted to Kevin Steinbrecher, ste27@co.henrico.va.us no later than April 17, 2013.

Very truly yours,

Christopher L. Winstead, P.E.

Director of General Services

Kevin Steinbrecher, CPPB, A.P.P.

Procurement Supervisor

Ste27@co.henrico.va.us

804-501-5690

1590 E. Parham Road/P.O. Box 90775/Henrico, Virginia 23273-0775

(804) 501-5660  Fax: (804) 501-5693

REQUEST FOR PROPOSAL

ANNUAL CONTRACT FOR FIRE STATION ALERTING SYSTEM

DIVISION OF FIRE, COUNTY OF HENRICO, VIRGINIA

I. 	PURPOSE

A.	It is the intent of this Request for Proposals (RFP) and resulting annual contract to obtain the services of a qualified firm to provide a Fire Station Alerting System for the County of Henrico Division of Fire.

B.	This solicitation will standardize the various components and system that will comprise the Fire Station Alerting System.  For future new construction or renovation projects, the Successful Offeror may be assigned to work as a subcontractor to a General Contractor to provide the installation of the Fire Station Alerting System as a bid allowance.  The alerting system may also be installed in existing fire stations and the Successful Offeror shall provide all components and labor per the pricing established through this solicitation and resulting annual contract.

II.  	BACKGROUND

  - The Henrico County Division of Fire, located in Central Virginia, is seeking proposals for the purchase and installation of hardware, software and implementation services for a fire station alerting system.

  - There are 20 fire stations and four volunteer rescue squad stations within Henrico County.  (The volunteer rescue squad stations are not included in the RFP Scope of Work.)  There are currently two new replacement stations being built, and a third will begin renovation in the next six months.

  - The desired fire station alerting system allows the stacking and simultaneous alerting of response units, and speeding up deployment of personnel.

  - Henrico County seeks to purchase a system that is able to provide the features as outlined in this document, not to provide a step-by-step process by which the Offeror is obligated to install and/or program their system.

  - This proposal is to establish the system core and to install the system in one fire station (Station #10) with the option to install a like system in up to 25 stations over the next five years.  Fire Station #10 is an existing station that will be replaced with a new 12,200 square foot, 3 bay drive through station, with an estimated completion date of summer 2014.  The station is located at 6313 Horsepen Road, Henrico, VA 23226.

  - The County uses a computer aided dispatch system (CAD).  The County’s CAD system was created by and is maintained by the County’s Information Technology Department (County IT).  County IT will be the point of contact for any questions regarding the CAD system.  County IT will work with the Successful Offeror to interface the CAD system with the Successful Offeror’s alerting system.

III.	SCOPE OF SERVICES

- General

    - The Alerting System shall be designed specifically for use as a fire station alerting system.

    - The Successful Offeror shall provide all equipment, materials, labor, and supervision to provide a turnkey Alerting System.

    - It is strongly desired there be no proprietary speakers, lights, monitors, display boards, circuits, circuit boards, lights, or other peripherals in the system.  All peripherals shall use industry-standard formats, connections, and voltages.  Uninterruptible power supplies should be provided for critical components of the system or as deemed necessary by the Offeror.

    - The alerting system shall have “heart-friendly” features such as ramped-up audio and subdued lighting at night.  Offerors shall highlight their “heart-friendly” features.

    - All national, state, and local applicable electrical and/or building codes shall be followed.

    - This system shall be compliant to the latest edition of National Fire Protection Association (NFPA) Standard 1221 regarding The Installation, Maintenance, and Use of Emergency Services Communications Systems.

- Computer Aided Dispatch (CAD) Interface and Manual Alerting

The County desires to acquire an alerting system which will interface with the County’s non-commercial, in-house developed CAD system.  Via this interface the CAD system should be able to activate the alerting system automatically and without operator intervention.  Each Offeror should supply information describing their system’s capability to provide such an interface.  The Offeror’s system should also describe any manual interface they may provide which an operator may use to send alerts.  Also, the County may be interested in creating a custom manual interface so Offerors should describe their system’s capability to be activated from a custom, County created, client program.

Offerors should describe their systems’ capabilities with regard to each of the following:

- The Successful Offeror shall be responsible for fully cooperating with the Henrico County Information Technology Department to implement a CAD Interface to Henrico County’s CAD system.

- Offerors shall describe how the County’s CAD system will interface with their proposed system.

- Offerors shall describe their API (Application Program Interface).

- This fire station alerting system shall be capable of being activated directly from the customer CAD system.

- The fire station alerting system interface to the CAD system should support emergency alerts and non-emergency alerts.

- The fire station alerting system should be capable of alerting by: Group, Station or Unit, etc.  Offerors shall include in their proposals the alerting capabilities of the system being offered.

- For each dispatch alert message received from CAD, the fire station alerting system should send a response over the CAD connection indicating the success or failure of each dispatched station, unit, or group for the given alert.  Offerors shall describe how their offering provides feedback regarding the success or failure of an alert or any portion of an alert.

- This fire station alerting system solution shall be capable of providing manual emergency and/or non-emergency messages to units, stations or groups of stations, etc.  Offerors shall describe the manual alerting capabilities supported by the system being offered.

- The alerting system shall alert the required stations in a timely manner.  Offerors shall specify what expected alerting times are for alerts.

- The system should provide a means of notifying dispatchers to indicate if the system and its components are properly operating.  Offerors should describe how their system would do this.

- A manual alerting application should be provided for dispatcher use to alert stations, units, or groups in the event the CAD system is not available.

- Because the County desires to incrementally deploy the new alerting system over time to its stations, there will be a period of time during which the County will be operating some of its stations on the new alerting system and some on the old system. The County IT Department may wish to build a custom manual alerting/monitoring application which would give the dispatcher a single application to use for manual alerting for both the old and new alerting systems.  Offerors shall describe how their system’s API or interface could enable the County to create an application like this.

- Alerting Circuits

- The primary dispatch circuits shall be monitored and a prompt warning shall be provided in the event that a situation that will impact reliability occurs, as per NFPA 1221.

- The primary alerting circuit shall be over Henrico County’s Wide Area Network.

- The proposed system shall be capable of secondary alerting using the existing 800 MHz Motorola Astro simulcast trunking radio system, 800 MHz P25 Simulcast trunking, or other methods as approved by Henrico County.

- Offerors shall describe any functional difference in alerting capability when the alert occurs via a secondary/backup alerting method.  Offerors shall detail how their back-up alerting system works, how it compares to the primary alerting system, and any differences in alerting that may exist at the fire station when a back-up alert is received.

- Dispatch Alerting - General

Offerors should describe their systems’ capabilities with regard to each of the following:

- The ability to control, at each station, the following functions: audible tones, lighting, relay activation, and printer interface.

- The ability to provide a zoning capability such that portions of the station may be alerted without alerting the entire station.  Indicate in the proposal how many zones are supported for each station.  Describe how zoning is managed in your system both centrally and at the station.  Indicate if your system will allow certain rooms or areas to be able to be alerted individually and if there is an option to select the notifications that will be received for that area.

- The ability to provide a means to silence all station speakers manually, with the system allowing the silenced speakers to be overridden by the receipt of a call for service.

- Dispatch Alerting – Audible

Offerors should describe their systems’ capabilities with regard to each of the following:

- The fire station alerting system should provide an audible alert over the speaker system of the station.  This alert should be “ramped” to increase the volume from low to high over a specified amount of time.

- The fire station alerting system shall include its own audio amplifiers with full remote volume control capability on a per speaker basis.

- The fire station alerting system shall provide the ability to amplify building auxiliary audio such as intercom paging, telephone ringer audio, and doorbell audio through a standard type auxiliary input connection.

- The fire alerting system shall provide the ability to mute in building auxiliary audio during dispatch alerts.

- The fire station alerting system shall include a radio interface for redundant dispatching and on-air dispatching.  Each dispatched run should be broadcast over both the in-station alerting network and over the dispatch radio channel.

- The radio interface shall be equipped to detect channel traffic and wait until the channel is free to begin automated dispatching.

- Dispatch Alerting - Automated Voice

Offerors should describe their systems’ capabilities with regard to each of the following:

- The fire station alerting system should have the capability, for any incident, to create voice dispatch alerts that announce simultaneously in multiple stations.  Offerors shall describe how their system will handle alerting multiple calls to multiple stations at the same time, while also disseminating the dispatch information verbally over the main dispatch radio frequency (RF) channel.

- Should the need arise, live dispatcher voice can be used in addition to the automated voice announcement.

- Automated voice announcements supported should include: dispatch announcements, announcements of move-ups/station fill-ins, and non-emergency messages.

- The automated voice dispatch announcement should include detailed dispatch information, including apparatus to respond, incident type, street address, and common place name.

- Automated voice dispatch announcements shall immediately follow the audible alert tone as per NFPA 1221.

- In the event that the system uses computer-generated voices in lieu of a human voice, local system administrators shall have the ability to edit the pronunciation of street names, unit types, and other names and words without manufacturer involvement.  The ease of editing offered by each vendor will be specifically evaluated.

- Dispatch Alerting - Relay Controls and Inputs

- The fire station alerting system should provide a minimum of 16 relay contacts at each station for the purpose of controlling external switched functions. As a minimum, the contacts shall be able to be energized for a configurable period of time upon receipt of a CAD dispatch message. The outputs shall be configurable as normally open or normally closed contact closures.

- The fire station alerting system should provide multiple isolated DC inputs for the purpose of monitoring status of external actions and functions.

- Dispatch Alerting - Printing

Offerors should describe their systems’ capabilities with regard to each of the following:

- The fire station alerting system should be capable of providing a dispatch printout with the same information that is announced upon receipt of a CAD dispatch announcement. The printout must also include user comments if this information is provided to the system over the CAD interface.

- The fire station alerting system shall provide an audible ramped alert tone that clearly identifies to the units the type of call that is being dispatched. The alert tone shall immediately precede the dispatch announcement.

- The fire station alerting system should support simultaneous printing and audible alerting.

- Dispatch Alerting – Visuals

Offerors should describe their systems’ capabilities with regard to each of the following:

- The fire station alerting system should include provisions to display the dispatch information at the station.  Offerors should describe display capabilities and discuss what information is typically displayed as well as what information might possibly be displayed.  Discuss any limits on numbers, types or sizes of displays.

- The fire station alerting system should include multiple turnout timer capability, which will count up in one-second increments upon the receipt of a call.  Offerors may propose to have this as a separate timer, or as an integral part of the display. Please indicate in the proposal the number of turnout timers that are supported.

- The fire station alerting system shall include lighting that is designed to have little impact on the building occupant’s night vision when a call is received.  This will include red LED lights in the ceiling in the bunkroom area that are bright enough to light the area around the member’s bed and provide a safe amount of light to make their way to the apparatus bay.

- The fire station alerting system should include a series of up to five colored lights in the day room, bunk room(s), and bay, which will immediately alert the building occupants to which company in the station has a pending call.  These lights will operate immediately upon the station receiving a call, even if another call is being dispatched to the same station at the same time, allowing occupants to prepare for the call even before it’s been audibly dispatched.

- Dispatch Alerting – Acknowledgement

Offerors should describe their systems’ capabilities with regard to each of the following:

- The fire station alerting system should include up to three “acknowledge” buttons located in or near the apparatus bays, which will allow the communications officer to see that the station has acknowledged the receipt of the call and will be enroute shortly.

- Configuration and Software Updates

Offerors should describe their systems’ capabilities with regard to each of the following:

- The fire station alerting system should be centrally managed. Both the Successful Offeror and the customer’s system specialists shall have full control access.  Offerors shall describe their software update process in their proposal.

- System Monitoring

Offerors should describe their systems’ capabilities with regard to each of the following:

- Each component in this fire station alerting system should be monitored for online and offline status. Offerors should indicate what their monitoring capability covers: i.e., computers, network connectivity, audio amplifiers, message display units, lighting, etc.

- This fire station alerting system should be capable of alerting support staff of critical events that occur within the alerting system via visual and email/pager. Each method shall be individually enabled or disabled via a configuration application.

- Error and status logs should be generated for all traffic between the CAD system and any controllers, between any controllers and the fire stations, and between all network components in the fire stations.

- Error and status logs should be available to the customer’s system specialists via a log viewer application.

- Remote system monitoring from a client application residing on the network (and having appropriate permissions) should be supported.

- System status information should be capable of being displayed in the County’s communication center.

- Installation

- Henrico County technical personnel reserves the right to be in the presence of each installation, system activation and cutover.

- Where an existing station is under renovation or a new station is under construction, the Successful Offeror will – upon acceptance of the submitted cost proposal – be assigned to the General Contractor.  The Successful Offeror shall agree to enter into a contract with the General Contractor to perform the work and will become a subcontractor to the General Contractor, executing the required contract with the General Contractor.  The General Contractor for the construction contract will be responsible for the work schedule and coordination with other trades.

- Where an existing station, not under renovation, requires the installation of the Fire Station Alerting System, the Successful Offeror shall, upon request, provide a cost proposal for any fire station designated for this system implementation.  The Successful Offeror shall be contacted by a representative of Henrico County and arrange a site visit of the facility so a cost proposal, utilizing the pricing established via this solicitation and resulting contract, can be created and submitted to the County for the work.  Offerors should indicate in their response the timeframe required to provide a cost estimate to the County after the site visit of the facility has occurred.

- Warranties and Support Agreements

- Describe warranty provided as well as length of warranty.

- Describe extended yearly warranties available and their cost.

- Specify your twenty-four hour a day, seven days a week software support capabilities.

- Specify your eight hours a day, five days a week software support capabilities. Specify in your pricing sheet, pricing for five (5) additional one (1) year periods.

- Specify any on-line support offered.

- Specify any local, in-person, support offered.  If available, identify your toll-free, 24 hour access telephone number.

- Specify the expected response time of your company to customer needs.

- Training

- Operator training shall be provided to the dispatchers and their supervisors. The training schedule shall be completed on site as coordinated with the Henrico County agency-specific liaison.  Offerors should describe in the proposal their approach to provide the most effective training method/process that would allow dispatchers and supervisors to successfully operate the system.

- System maintenance, programming and troubleshooting training shall be provided for the County’s technical staff.

- Miscellaneous

- Successful Offeror shall provide two (2) spare sets of station equipment, including the parts not specifically itemized in this document.

- Describe the high availability capability of the system core.  Indicate whether the system being proposed provides auto fail-over capability.

- Pricing

  - Provide two (2) separate pricing schedules in your response.

a. 	Schedule 1 shall provide a cost estimate to provide all labor, materials, and supervision to install a turnkey Fire Station Alerting System in the new Fire Station #10.  (Reference Station #10 drawings A4.0, Elevations and A2.1.1, Floor Plans in Attachment F, which is a separate document from this RFP.)  This schedule should clearly identify all system components, labor costs, and project management and training costs associated with the project as well as a timeline for project completion.

b. 	Schedule 2 shall provide pricing for Fire Station Alerting System installations for future stations over the next five years.  Clearly identify the make, model, quantity, and price of each system component estimated per standard station installation.  Include any costs for software, software maintenance and support, and system training.  Also include a complete breakdown of hourly labor costs for installers, technicians, or project management, including overtime, weekend, and holiday rates.

  - A “standard installation” will consist of the following:

      - Four alerting zones

      - Forty (40) flush-mounted speakers in living area

      - Three (3) speakers in the apparatus bay

      - One (1) stove cut-off

      - Four (4) multi-color zone indicators

      - Two (2) turnout timers

      - Four (4) bunkroom zoning remotes

      - One (1) speaker amplifier (as required)

      - Uninterruptible power supplies (as required)

  - A percentage discount off manufacturer’s list price should be provided for all components not identified in the component pricing provided.

IV.	ANTICIPATED SCHEDULE

The following represents a tentative outline of the process currently anticipated by the County:

- Request for Proposals distributed			April 5, 2013

- Pre-proposal Conference			April 12, 2013, 10:00 a.m.

- Deadline for questions			April 17, 2013

- Proposal Submission Deadline                                   		May 10, 2013, 2:00 p.m.

- Conduct oral interviews and negotiations with Offerors 		May 29, 2013

- Finalize Contract Documents	           June 2013

- Contract/installation begins after                         	            July 1, 2013

V.	COUNTY RESPONSIBILITIES

Henrico County will designate an individual to act as the Project Manager for all work performed under this contract. The Project Manager shall coordinate the work, and shall have the authority to make decisions in writing binding their respective employers on matters within the scope of the contract.

VI.	GENERAL CONTRACT TERMS AND CONDITIONS

A.	Annual Appropriations

It is understood and agreed that the contract resulting from this procurement (“Contract”) shall be subject to annual appropriations by the County of Henrico, Board of Supervisors.  Should the Board fail to appropriate funds for this Contract, the Contract shall be terminated when existing funds are exhausted.  The Successful Offeror (“Successful Offeror” or “contractor”) shall not be entitled to seek redress from the County of Henrico, Virginia (the “County”) should the Board of Supervisors fail to make annual appropriations for the Contract.

B.	Award of the Contract

1.	The County reserves the right to reject any or all proposals and to waive any informalities.

2.	The Successful Offeror shall, within fifteen (15) calendar days after Contract documents are presented for signature, execute and deliver to the Purchasing Office the Contract documents and any other forms or bonds required by the RFP.

- The Contract resulting from this RFP is not assignable.

4.	Upon making an award, or giving notice of intent to award, the County will place appropriate notice on the public bulletin board located at the following locations:

Purchasing Office				Eastern Government Center

North Run Office Complex		3820 Nine Mile Road

1590 East Parham Road			Henrico VA 23223

Henrico VA 23228

Henrico Government Center

4301 E. Parham Road

Henrico VA  23228

Notice of award or intent to award may also appear on the Purchasing Office website:   http://www.co.henrico.va.us/genserv

C.	Collusion

By submitting a proposal in response to this Request for Proposal, the Offeror represents that in the preparation and submission of this proposal, said Offeror did not, either directly or indirectly, enter into any combination or arrangement with any person, Offeror or corporation or enter into any agreement, participate in any collusion, or otherwise take any action in the restraint of free, competitive bidding in violation of the Sherman Act (15 U.S.C. § 1 et seq.) or Section 59.1-9.1 through 59.1-9.17 or Sections 59.1-68.6 through 59.1-68.8 of the Code of Virginia.

D.	Compensation

The Successful Offeror shall submit a complete itemized invoice on each delivery or service that is performed under the Contract.  Payment shall be rendered to the Successful Offeror for satisfactory compliance with the Contract within forty-five (45) days after receipt of a proper invoice.

E.	Controlling Law and Venue

The Contract will be made, entered into, and shall be performed in the County of Henrico, Virginia, and shall be governed by the applicable laws of the Commonwealth of Virginia without regard to its conflicts of law principles.  Any dispute arising out of the Contract, its interpretations, or its performance shall be litigated only in the Henrico County General District Court or the Circuit Court of the County of Henrico, Virginia.

F.	Default

1.	If the Successful Offeror is wholly responsible for a failure to perform the Contract (including, but not limited to, failure to make delivery of goods, failure to complete implementation and installation, and/or if the goods and/or services fail in any way to perform as specified herein), the County may consider the Successful Offeror to be in default.  In the event of default, the County will provide the Successful Offeror with written notice of default, and the Successful Offeror shall provide a plan to correct said default within 20 calendar days of the County’s notice of default.

2.	If the Successful Offeror fails to cure said default within 20 days, the County, among other actions, may complete the Contract work through a third party, and the Successful Offeror shall be responsible for any amount in excess of the Contract price incurred by the County in completing the work to a capability equal to that specified in the Contract.

G.	Discussion of Exceptions to the RFP

This RFP, including but not limited to its venue, termination, and payment schedule provisions, shall be incorporated by reference into the Contract documents as if its provisions were stated verbatim therein. Therefore, Offerors shall explicitly identify any exception to any provisions of the RFP in a separate “Exceptions to RFP” section of the proposal so that such exceptions may be resolved before execution of the Contract. In case of any conflict between the RFP and any other Contract documents, the RFP shall control unless the Contract documents explicitly provide otherwise.

H.	Drug-Free Workplace to be Maintained by the Contractor (Va. Code § 2.2-4312)

1.	During the performance of this Contract, the contractor agrees to (i) provide a drug-free workplace for the contractor’s employees; (ii) post in conspicuous places, available to employees and applicants for employment, a statement notifying employees that the unlawful manufacture, sale, distribution, dispensation, possession, or use of a controlled substance or marijuana is prohibited in the contractor’s workplace and specifying the actions that will be taken against employees for violations of such prohibition; (iii) state in all solicitations or advertisements for employees placed by or on behalf of the contractor that the contractor maintains a drug-free workplace; and (iv) include the provisions of the foregoing clauses in every subcontract or purchase order of over $10,000, so that the provisions will be binding upon each subcontractor or vendor.

2.	For the purposes of this section, “drug-free workplace” means a site for the performance of work done in connection with a specific contract awarded to a contractor in accordance with the Virginia Public Procurement Act, the employees of whom are prohibited from engaging in the unlawful manufacture, sale, distribution, dispensation, possession or use of any controlled substance or marijuana during the performance of the contract.

I.	Employment Discrimination by Contractor Prohibited

1.	During the performance of this Contract, the contractor agrees as follows (Va. Code § 2.2-4311):

(a)	The contractor will not discriminate against any employee or applicant for employment because of race, religion, color, sex, national origin, age, disability, or other basis prohibited by state law relating to discrimination in employment, except where there is a bona fide occupational qualification reasonably necessary to the normal operation of the contractor.  The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices setting forth the provisions of this nondiscrimination clause.

(b)	The contractor, in all solicitations or advertisements for employees placed by or on behalf of the contractor, will state that such contractor is an equal opportunity employer.

- Notices, advertisements and solicitations placed in accordance with federal law, rule or regulation shall be deemed sufficient for the purpose of meeting the requirements of this section.

2. 	The contractor will include the provisions of the foregoing subparagraphs (a), (b), and (c) in every subcontract or purchase order of over $10,000, so that the provisions will be binding upon each subcontractor or vendor.

J.	Employment of Unauthorized Aliens Prohibited

As required by Va. Code § 2.2-4311.1, the contractor does not, and shall not during the performance of this agreement, in the Commonwealth of Virginia knowingly employ an unauthorized alien as defined in the federal Immigration Reform Act of 1986.

K.	Indemnification

The Successful Offeror agrees to indemnify, defend and hold harmless the County (including Henrico County Public Schools), and the County’s officers, agents and employees from any claims, damages, suits, actions, liabilities and costs of any kind or nature, including attorneys’ fees, arising from or caused by the provision of any goods and/or services, the failure to provide any goods and/or services and/or the use of any services and/or goods furnished (or made available) by the Successful Offeror, provided that such liability is not attributable to the County’s sole negligence.

L.	Insurance Requirements

The Successful Offeror shall maintain insurance to protect itself and the County (including Henrico County Public Schools) from claims under the Workers' Compensation Act, and from any other claim for damages for personal injury, including death, and for damages to property which may arise from the provision of goods and/or services under the Contract, whether such goods and/or services are provided by the Successful Offeror or by any subcontractor or anyone directly employed by either of them.  Such insurance shall conform to the Insurance Specifications. (Attachment A)

M.	No Discrimination against Faith-Based Organizations

Henrico County does not discriminate against faith-based organizations as that term is defined in Va. Code § 2.2-4343.1.

N.	Offeror's Performance

1.	The Successful Offeror agrees and covenants that its agents and employees shall comply with all County, State and Federal laws, rules and regulations applicable to the business to be conducted under the Contract.

2.	The Successful Offeror shall ensure that its employees shall observe and exercise all necessary caution and discretion so as to avoid injury to person or damage to property of any and all kinds.

3.	The Successful Offeror shall cooperate with County officials in performing the Contract work so that interference with normal operations will be held to a minimum.

4.	The Successful Offeror shall be an independent contractor and shall not be an employee of the County.

O.	Ownership of Deliverable and Related Products

1.	The County shall have all rights, title, and interest in or to all specified or unspecified interim and final products, work plans, project reports and/or presentations, data, documentation, computer programs and/or applications, and documentation developed or generated during the completion of this project, including, without limitation, unlimited rights to use, duplicate, modify, or disclose any part thereof, in any manner and for any purpose, and the right to permit or prohibit any other person, including the Successful Offeror, from doing so.  To the extent that the Successful Offeror may be deemed at any time to have any of the foregoing rights, the Successful Offeror agrees to irrevocably assign and does hereby irrevocably assign such rights to the County.

2.	The Successful Offeror is expressly prohibited from receiving additional payments or profit from the items referred to in this paragraph, other than that which is provided for in the general terms and conditions of the Contract.

3.	This shall not preclude Offerors from submitting proposals, which may include innovative ownership approaches, in the best interest of the County.

P.	Record Retention and Audits

1.	The Successful Offeror shall retain, during the performance of the Contract and for a period of three years from the completion of the Contract, all records pertaining to the Successful Offeror’s proposal and any Contract awarded pursuant to this Request for Proposal.  Such records shall include but not be limited to all paid vouchers including those for out-of-pocket expenses; other reimbursement supported by invoices, including the Successful Offeror’s copies of periodic estimates for partial payment; ledgers, cancelled checks; deposit slips; bank statements; journals; Contract amendments and change orders; insurance documents; payroll documents; timesheets; memoranda; and correspondence.  Such records shall be available to the County on demand and without advance notice during the Successful Offeror’s normal working hours.

2.	County personnel may perform in-progress and post-audits of the Successful Offeror’s records as a result of a Contract awarded pursuant to this Request for Proposals.  Files would be available on demand and without notice during normal working hours.

Q.	Severability

Each paragraph and provision of the Contract is severable from the entire agreement and if any provision is declared invalid the remaining provisions shall nevertheless remain in effect.

R.	Small, Women-Owned and Minority-Owned (SWAM) Businesses

The County welcomes and encourages the participation of small businesses and businesses owned by women and minorities in procurement transactions made by the County. The County of Henrico actively solicits both small business, women-owned and minority (SWAM) businesses to respond to all Invitations for Bids and Requests for Proposals. All solicitations are posted on the County’s Internet site at:

http://www.co.henrico.va.us/departments/genserv/purchasing.

S.	Subcontracts

1,	No portion of the work shall be subcontracted without prior written consent of the County.  In the event that the Successful Offeror desires to subcontract some part of the work specified in the Contract, the Successful Offeror shall furnish the County the names, qualifications, and experience of the proposed subcontractors.  The Successful Offeror shall, however, remain fully liable and responsible for the work to be done by his/her subcontractor(s) and shall assure compliance with all the requirements of the Contract.

2.	The County encourages the contractor to utilize small, women-owned, and minority-owned business enterprises.  For assistance in finding subcontractors, contact the Supplier Relations Coordinator (804-501-5689) or the Virginia Department of Minority Business Enterprises:

http://www.dmbe.state.va.us/

T.	Taxes

1.	The Successful Offeror shall pay all county, city, state and federal taxes required by law and resulting from the work or traceable thereto, under whatever name levied.  Said taxes shall not be in addition to the Contract price between the County and the Successful Offeror, as the taxes shall be an obligation of the Successful Offeror and not of the County, and the County shall be held harmless for same by the Successful Offeror.

2.	The County is exempt from the payment of federal excise taxes and the payment of State Sales and Use Tax on all tangible, personal property for its use or consumption.  Tax exemption certificates will be furnished upon request.

U.	Termination of Contract

1.	The County reserves the right to terminate the Contract immediately in the event that the Successful Offeror discontinues or abandons operations; is adjudged bankrupt, or is reorganized under any bankruptcy law; or fails to keep in force any required insurance policies or bonds.

2.	Failure of the Successful Offeror to comply with any section or part of the Contract will be considered grounds for immediate termination of the Contract by the County.

3.	Notwithstanding anything to the contrary contained in the Contract between the County and the Successful Offeror, the County may, without prejudice to any other rights it may have, terminate the Contract for convenience and without cause, by giving 30 days’ written notice to the Successful Offeror.

- If the County terminates the Contract, the Successful Offeror will be paid by the County for all scheduled work completed satisfactorily by the Successful Offeror up to the termination date.

V.	County License Requirement

If a business is located in the County, it is unlawful to conduct or engage in that business without obtaining a business license.  If your business is located in the County, include a copy of your current business license with your proposal submission.  If you have any questions, contact the Business Section, Department of Finance, County of Henrico, telephone (804) 501-4310.

- Environmental Management

The Successful Offeror shall comply with all applicable federal, state, and local environmental regulations.  The Successful Offeror is required to abide by the County’s Environmental Policy Statement (http://www.co.henrico.va.us/genserv/pdfs/EnvironmentalPolicyStatement.pdf, which emphasizes environmental compliance, pollution prevention, continual improvement, and conservation.  The Successful Offeror shall be properly trained and have any necessary certifications to carry out environmental responsibilities.  The Successful Offeror shall immediately communicate any environmental concerns or incidents to the appropriate County staff.

X.	Safety

1.	The Successful Offeror shall comply with and ensure that the Successful Offeror’s personnel comply with all current applicable local, state and federal policies, regulations and standards relating to safety and health, including, by way of illustration and not limitation, the standards of the Virginia Occupational Safety and Health Administration for the industry. The provisions of all rules and regulations governing safety as adopted by the Safety and Health Codes Board of the Commonwealth of Virginia and issued by the Department of Labor and Industry under Title 40.1 of the Code of Virginia shall apply to all work under the Contract. The Successful Offeror shall provide or cause to be provided all technical expertise, qualified personnel, equipment, tools and material to safely accomplish the work specified and performed by the Successful Offeror.

2.	The Successful Offeror shall have, at each location at which the Successful Offeror provides goods and/or services, a supervisor who is competent, qualified, or authorized on the work site, and who is familiar with policies, regulations and standards applicable to the work being performed. The supervisor must be capable of identifying existing and predictable hazards in the surroundings or working conditions which are hazardous or dangerous to employees or the public, and must be capable of ensuring that applicable safety regulations are complied with, and shall have the authority and responsibility to take prompt corrective measures, which may include removal of the Successful Offeror’s personnel from the work site.

3.	In the event the County determines any operations of the Successful Offeror to be hazardous, the Successful Offeror shall immediately discontinue such operations upon receipt of either written or oral notice by the County to discontinue such practice.

Y.	Authorization to Transact Business in the Commonwealth

1.	A contractor organized as a stock or nonstock corporation, limited liability company, business trust, or limited partnership or registered as a registered limited liability partnership shall be authorized to transact business in the Commonwealth as a domestic or foreign business entity if so required by Title 13.1 or Title 50 of the Code of Virginia or as otherwise required by law.

2.	An Offeror organized or authorized to transact business in the Commonwealth pursuant to Title 13.1 or Title 50 of the Code of Virginia must include in its proposal the identification number issued to it by the State Corporation Commission. (Attachment D) Any Offeror that is not required to be authorized to transact business in the Commonwealth as a foreign business entity under Title 13.1 or Title 50 of the Code of Virginia or as otherwise required by law shall include in its proposal a statement describing why the Offeror is not required to be so authorized.

3.	An Offeror described in subsection 2 that fails to provide the required information shall not receive an award unless a waiver is granted by the Director of General Services, his designee, or the County Manager.

4.	Any falsification or misrepresentation contained in the statement submitted by the Offeror pursuant to Title 13.1 or Title 50 of the Code of Virginia may be cause for debarment.

5.	Any business entity described in subsection 1 that enters into a contract with a public body shall not allow its existence to lapse or allow its certificate of authority or registration to transact business in the Commonwealth if so required by Title 13.1 or Title 50 of the Code of Virginia to be revoked or cancelled at any time during the term of the contract.

Z.	Payment Clauses Required by Va. Code § 2.2-4354

Pursuant to Virginia Code § 2.2-4354:

- The Successful Offeror shall take one of the two following actions within seven days after receipt of amounts paid to the Successful Offeror by the County for all or portions of the goods and/or services provided by a subcontractor:  (a) pay the subcontractor for the proportionate share of the total payment received from the County attributable to the work performed by the subcontractor under that contract; or (b) notify the County and subcontractor, in writing, of the Successful Offeror’s intention to withhold all or a part of the subcontractor's payment with the reason for nonpayment.

- Pursuant to Virginia Code § 2.2-4354, Successful Offerors that are proprietorships, partnerships, or corporations shall provide their federal employer identification numbers to the County. Pursuant to Virginia Code § 2.2-4354, Successful Offerors who are individual contractors shall provide their social security numbers to the County.

- The Successful Offeror shall pay interest to its subcontractors on all amounts owed by the Successful Offeror that remain unpaid after seven days following receipt by the Successful Offeror of payment from the County for all or portions of goods and/or services performed by the subcontractors, except for amounts withheld as allowed in Subparagraph 1. above.

- Pursuant to Virginia Code § 2.2-4354, unless otherwise provided under the terms of the Contract interest shall accrue at the rate of one percent per month.

- The Successful Offeror shall include in each of its subcontracts a provision requiring each subcontractor to include or otherwise be subject to the same payment and interest requirements with respect to each lower-tier subcontractor.

- The Successful Offeror's obligation to pay an interest charge to a subcontractor pursuant to the payment clause in Virginia Code § 2.2-4354 shall not be construed to be an obligation of the County. A Contract modification shall not be made for the purpose of providing reimbursement for the interest charge. A cost reimbursement claim shall not include any amount for reimbursement for the interest charge.

AA.	Contract Period

1.	The contract period shall be from the date of award through a one year period.  Contract prices shall remain firm for the contract period.

2.	The contract may be renewed for 4 additional one-year periods upon the sole discretion of the County at a price not to exceed 3% above the previous year's prices.

3.  	The resulting contract should require the Successful Offeror to give at least a ninety (90) day written notice if they do not intend to renew the contract at any annual renewal.

4.	The contract shall not exceed a maximum of five (5) years.

VII.   PROPOSAL SUBMISSION REQUIREMENTS

- The Purchasing Office will not accept oral proposals, nor proposals received by telephone, FAX machine, or other electronic means.

- All erasures, interpolations, and other changes in the proposal shall be signed or initialed by the Offeror.

- The Proposal Signature Sheet (Attachment B) must accompany any proposal(s) submitted and be signed by an authorized representative of the Offeror.  If the Offeror is a firm or corporation, the Offeror must print the name and title of the individual executing the proposal. All information requested should be submitted. Failure to submit all information requested may result in the Purchasing Office requiring prompt submission of missing information and/or giving a lowered evaluation of the proposal.

- The proposal, the proposal security, if any, and any other documents required, shall be enclosed in a sealed opaque envelope.  The envelope containing the proposal shall be sealed and marked in the lower left-hand corner with the number, title, hour, and due date of the proposal.

  - The time proposals are received shall be determined by the time clock stamp in the Purchasing Office.  Offerors are responsible for insuring that their proposals are stamped by Purchasing Office personnel by the deadline indicated.

  - By submitting a proposal in response to this Request for Proposal, the Offeror represents it has read and understand the Scope of Services and has familiarized itself with all federal, state, and local laws, ordinances, and rules and regulations that in any manner may affect the cost, progress, or performance of the Contract work.

  - The failure or omission of any Offeror to receive or examine any form, instrument, addendum, or other documents or to acquaint itself with conditions existing at the site, shall in no way relieve any Offeror from any obligations with respect to its proposal or to the Contract.

  - Trade secrets or proprietary information submitted by an Offeror in response to this Request for Proposal shall not be subject to public disclosure under the Virginia Freedom of Information Act; however, the Offeror must invoke the protection of this section prior to or upon submission of data or materials, and must identify the data or other materials to be protected and state the reasons why protection is necessary (Va. Code § 2.2-4342.F). (Attachment C)

  - A proposal may be modified or withdrawn by the Offeror anytime prior to the time and date set for the receipt of proposals.  The Offeror shall notify the Purchasing Office in writing of its intentions.

- If a change in the proposal is requested, the modification must be so worded by the Offeror as to not reveal the original amount of the proposal.

- Modified and withdrawn proposals may be resubmitted to the Purchasing Office up to the time and date set for the receipt of proposals.

- No proposal can be withdrawn after the time set for the receipt of proposals and for one-hundred twenty (120) days thereafter.

- The County welcomes comments regarding how the proposal documents, scope of services, or drawings may be improved.  Offerors requesting clarification, interpretation of, or improvements to the proposal general terms, conditions, scope of services or drawings shall make a written request which shall reach the Purchasing Office, Division of General Services, at least eight (8) days prior to the date set for the receipt of proposals.  Any changes to the proposal shall be in the form of a written addendum issued by the Purchasing Office and it shall be signed by the Director of General Services or a duly authorized representative.  Each Offeror is responsible for determining that it has received all addenda issued by the Purchasing Office before submitting a proposal.

- All proposals received in the Purchasing Office on time shall be accepted.  All late proposals received by the Purchasing Office shall be returned to the Offeror unopened.  Proposals shall be open to public inspection only after award of the Contract.

VIII.	PROPOSAL RESPONSE FORMAT

- Offerors shall submit a written proposal that present the Offeror’s qualifications and understanding of the work to be performed. Offerors are asked to address each evaluation criterion and to be specific in presenting their qualifications. Your proposal should provide all the information considered pertinent to your qualifications for this project.

- The Offeror should include in their proposal the following:

1.	Table of Contents – All pages are to be numbered

2.	Introduction

Cover letter - on company letterhead, signed by a person with the corporate authority to enter into contracts in the amount of the proposal

Proposal Signature Sheet – Attachment B

Proprietary/Confidential Information – Attachment C

Virginia State Corporation Commission (SCC) – Attachment D

Submittal of References – Attachment E

3.	Response to Scope of Services – The Offeror should address each section of the Scope of Services with an indication of the response. Offerors shall identify any exceptions, referenced to the paragraph number in a sub section titled “Exceptions”.

A. Business Health Summary – Please provide responses to the following specific questions:

- Years in business

- Years in business under your present name.

- References (Attachment E) – provide a minimum of three (3) references, who could attest to the Offeror’s past performance to provide services similar to those required for the contract.  The list should include a contact person and telephone number.  Offerors may not use Henrico County as one of their references.

B. Project and Support Staffing – Please provide responses to the following specific questions:

- Total number of staff:

- Describe the involvement, if any, of subcontractors in the work

- Resumes of staff assigned to the project.

- Pricing Schedules

1.	Provide detailed pricing for all costs associated with providing the services for Section III., Scope of Services, Q. Pricing.

- Appendices - are optional for Offerors who wish to submit additional material that will clarify their response.

- Additional Documents, if applicable - Provide copies of all documents that would need to be signed by the County if awarded the contract including any software license or maintenance agreements.

IX.	PROPOSAL EVALUATION/SELECTION PROCESS

A.	Offerors are to make written proposals that present the Offeror’s qualifications and understanding of the work to be performed. Offerors are asked to address each evaluation criteria and to be specific in presenting their qualifications. Proposals should be as thorough and detailed as possible so that the County may properly evaluate your capabilities to provide the required goods/services.

B.	Selection of the Successful Offeror will be based upon submission of proposals meeting the selection criteria and a review of required submittals. The minimum selection criteria will include:

|  | EVALUATION CRITERIA | WEIGHT |
| --- | --- | --- |
| 1. | Requirements Extent to which the proposed solution satisfies the RFP requirements Clearly demonstrated understanding of the work to be performed | 30 |
| 2 | Experience and Qualifications Previous projects of similar size and scope Financial Stability of Firm Resumes of proposed staff References | 25 |
| 3 | Implementation of Services/Project Management Project Approach Project Plan and Schedule Project Management Project Team Current Workload and ability to perform required work within the County’s schedule | 20 |
| 4 | Fees for Services | 20 |
| 5 | Quality of proposal submission/oral presentations | 5 |
|  | TOTAL | 100 |

C.	Selection will be made of two or more Offerors deemed to be fully qualified and best suited among those submitting proposals.  Negotiations shall then be conducted with each of the Offerors so selected.  Price shall be considered, but need not be the sole determining factor.  After negotiations have been conducted with each Offeror so selected, the County shall select the Offeror, which, in its opinion, has made the best proposal, and shall award the contract to that Offeror. Should the County determine in writing and in its sole discretion that only one Offeror is fully qualified or that one Offeror is clearly more highly qualified that the others under consideration, a contract may be negotiated and awarded to that Offeror.  The award document will be a contract incorporating by reference all the requirements, terms and conditions of the solicitation and the Offeror’s proposal as negotiated.

##### ATTACHMENT A

INSURANCE SPECIFICATIONS

The Successful Vendor shall carry Public Liability Insurance in the amount specified below, including contractual liability assumed by the Successful Vendor, and shall deliver a Certificate of Insurance from carriers licensed to do business in the Commonwealth of Virginia and is representative of the insurance policies. The Certificate shall show that the policy has been endorsed to add the County of Henrico and Henrico County Public Schools named as an additional insured for the Commercial General Liability coverage.  The coverage shall be provided by a carrier(s) rated not less than “A-“ with a financial rating of at least VII by A.M. Bests or a rating acceptable to the County.   In addition, the Successful Vendor shall agree to give the County a minimum of 30 days prior notice of any cancellation or material reduction in coverage.

Workers’ Compensation

Statutory Virginia Limits

Employers’ Liability Insurance -     $100,000 for each Accident by employee

$100,000 for each Disease by employee

$500,000 policy limit by Disease

Commercial General Liability - Combined Single Limit

$1,000,000 each occurrence including contractual liability for specified agreement

$2,000,000 General Aggregate (other than Products/Completed Operations)

$2,000,000 General Liability-Products/Completed Operations

$1,000,000 Personal and Advertising injury

$   100,000 Fire Damage Legal Liability

Coverage must include Broad Form property damage and (XCU) Explosion, Collapse and Underground Coverage

Business Automobile Liability – including owned, non-owned and hired car coverage

Combined Single Limit - $1,000,000 each accident

Technology Errors & Omissions – $1,000,000 per occurrence, aggregate

NOTE 1:    	The commercial general liability insurance shall include contractual liability.  The contract documents include an indemnification provision(s).  The County makes no representation or warranty as to how the Vendor’s insurance coverage responds or does not respond.  Insurance coverages that are unresponsive to the indemnification provision(s) do not limit the Vendor’s responsibilities outlined in the contract documents.

NOTE 2:		The intent of this insurance specification is to provide the coverage required and the limits expected for each type of coverage.  With regard to the Business Automobile Liability and Commercial General Liability, the total amount of coverage can be accomplished through any combination of primary and excess/umbrella insurance. This insurance shall apply as primary insurance and non-contributory with respect to any other insurance or self-insurance programs afforded the County of Henrico and Henrico County Public Schools.  This policy shall be endorsed to be primary with respect to the additional insured.

NOTE 3:	Title 65.2 of the Code of Virginia requires every employer who regularly employs three or more full-time or part-time employees to purchase and maintain workers' compensation insurance.  If you do not purchase a workers’ compensation policy, a signed statement is required documenting that you are in compliance with Title 65.2 of the Code of Virginia.

Attachment B

PROPOSAL SIGNATURE SHEET

Page 1 of 2

SUBMIT THIS FORM WITH PROPOSAL

My signature certifies that the proposal as submitted complies with all requirements specified in this Request for Proposal (“RFP”).

My signature also certifies that by submitting a proposal in response to this RFP, the Offeror represents that in the preparation and submission of this proposal, the Offeror did not, either directly or indirectly, enter into any combination or arrangement with any person or business entity, or enter into any agreement, participate in any collusion, or otherwise take any action in the restraining of free, competitive bidding in violation of the Sherman Act (15 U.S.C. Section 1) or Sections 59.1-9.1 through 59.1-9.17 or Sections 59.1-68.6 through 59.1-68.8 of the Code of Virginia.

I hereby certify that I am authorized to sign as a legal representative for the business entity submitting this proposal.

LEGAL NAME OF OFFEROR (DO NOT USE TRADE NAME):

ADDRESS:

SIGNATURE:

NAME OF PERSON SIGNING (print):

TITLE:

TELEPHONE:

FAX:

E-MAIL ADDRESS:

DATE:

PLEASE SPECIFY YOUR BUSINESS CATEGORY BY CHECKING THE APPROPRIATE BOX OR BOXES BELOW.

Please refer to definitions on the following page prior to completing.  Check all that apply.

MINORITY-OWNED BUSINESS          SMALL BUSINESS            WOMEN-OWNED BUSINESS

NONE OF THE ABOVE

If certified by the Virginia Minority Business Enterprise (DMBE), provide DMBE certification number and expiration date. ____________________ NUMBER __________________ DATE

Supplier registration – The County of Henrico encourages all suppliers interested in doing business with the County to register with eVA, the Commonwealth of Virginia’s electronic procurement portal, http://eva.virginia.gov.

eVA Registered?		YES			NO

Attachment B

page 2 of 2

definitions

For the purpose of determining the appropriate business category, the following definitions apply:

“Minority-owned business” means a business that is at least 51% owned by one or more minority individuals who are U.S. citizens or legal resident aliens, or in the case of a corporation, partnership, or limited liability company or other entity, at least 51% of the equity ownership interest in the corporation, partnership, or limited liability company or other entity is owned by one or more minority individuals who are U.S. citizens or legal resident aliens and both the management and daily business operations are controlled by one or more minority individuals.

As used in the definition of “minority-owned business,” “minority individual” means an individual who is a citizen of the United States or a legal resident alien and who satisfies one or more of the following definitions:

1.   “African American” means a person having origins in any of the original peoples of Africa and who is regarded as such by the community of which this person claims to be a part.

2.   “Asian American” means a person having origins in any of the original peoples of the Far East, Southeast Asia, the Indian subcontinent, or the Pacific Islands, including but not limited to Japan, China, Vietnam, Samoa, Laos, Cambodia, Taiwan, Northern Mariana, the Philippines, a U.S. territory of the Pacific, India, Pakistan, Bangladesh, or Sri Lanka and who is regarded as such by the community of which this person claims to be a part.

3.   “Hispanic American” means a person having origins in any of the Spanish-speaking peoples of Mexico, South or Central America, or the Caribbean Islands or other Spanish or Portuguese cultures and who is regarded as such by the community of which this person claims to be a part.

4.   “Native American” means a person having origins in any of the original peoples of North America and who is regarded as such by the community of which this person claims to be a part or who is recognized by a tribal organization.

“Small business” means a business, independently owned and controlled by one or more individuals who are U.S. citizens or legal resident aliens, and together with affiliates, has 250 or fewer employees, or annual gross receipts of $10 million or less averaged over the previous three years.  One or more of the individual owners shall control both the management and daily business operations of the small business.

“Women-owned business” means a business that is at least 51% owned by one or more women who are U.S. citizens or legal resident aliens, or in the case of a corporation, partnership, or limited liability company or other entity, at least 51% of the equity ownership interest is owned by one or more women who are U.S. citizens or legal resident aliens, and both the management and daily business operations are controlled by one or more women.

ATTACHMENT C

PROPRIETARY/CONFIDENTIAL INFORMATION IDENTIFICATION

NAME OF FIRM/OFFEROR: ______________________________

Trade secrets or proprietary information submitted by an offeror shall not be subject to public disclosure under the Virginia Freedom of Information Act; however, the offeror must invoke the protections of §2.2-4342F of the Code of Virginia, in writing, either before or at the time the data or other material is submitted.  The written notice must specifically identify the data or materials to be protected including the section of the proposal in which it is contained and the page numbers, and state the reasons why protection is necessary.  The proprietary or trade secret material submitted must be identified by some distinct method such as highlighting or underlining and must indicate only the specific words, figures, or paragraphs that constitute trade secret or proprietary information.  In addition, a summary of proprietary information submitted shall be submitted on this form.  The classification of an entire proposal document, line item prices, and/or total proposal prices as proprietary or trade secrets is not acceptable.  If, after being given reasonable time, the offeror refuses to withdraw such a classification designation, the proposal will be rejected.

| SECTION/TITLE | PAGE NUMBER(S) | REASON(S) FOR WITHHOLDING FROM DISCLOSURE |
| --- | --- | --- |

SUBMIT THIS FORM WITH PROPOSAL

# ATTACHMENT D

# VIRGINIA STATE CORPORATION COMMISSION (SCC)

REGISTRATION INFORMATION

# The Bidder or Offeror:

□ is a corporation or other business entity with the following SCC identification number:  ________________________________ -OR-

□	is not a corporation, limited liability company, limited partnership, registered limited liability partnership, or business trust -OR-

□ 	is an out-of-state business entity that does not regularly and continuously maintain as part of its ordinary and customary business any employees, agents, offices, facilities, or inventories in Virginia (not counting any employees or agents in Virginia who merely solicit orders that require acceptance outside Virginia before they become contracts, and not counting any incidental presence of the Bidder/Offeror in Virginia that is needed in order to assemble, maintain, and repair goods in accordance with the contracts by which such goods were sold and shipped into Virginia from offer or’s out-of-state location) -OR-

□ 	is an out-of-state business entity that is including with this bid/proposal an opinion of legal counsel which accurately and completely discloses the undersigned Bidder’s/Offeror’s current contacts with Virginia and describes why whose contacts do not constitute the transaction of business in Virginia within the meaning of § 13.1-757 or other similar provisions in Titles 13.1 or 50 of the Code of Virginia.

Please check the following box if you have not checked any of the foregoing options but currently have pending before the SCC an application for authority to transact business in the Commonwealth of Virginia and wish to be considered for a waiver to allow you to submit the SCC identification number after the due date for bids/proposals: □

SUBMIT THIS FORM WITH PROPOSAL

# ATTACHMENT E

# SUBMITTAL OF REFERENCES

Reference #1

# Name of firm: ______________________________________________________________________

# Description of work: _________________________________________________________________

# _________________________________________________________________________________

Name of Contact Person: _________________________________________

# Telephone Number: _____________________________________________

# Dates work performed: ___________________________________________

Reference #2

# Name of firm: ______________________________________________________________________

# Description of work: _________________________________________________________________

# _________________________________________________________________________________

Name of Contact Person: _________________________________________

# Telephone Number: _____________________________________________

# Dates work performed: ___________________________________________

Reference #3

# Name of firm: ______________________________________________________________________

# Description of work: _________________________________________________________________

# _________________________________________________________________________________

Name of Contact Person: _________________________________________

# Telephone Number: _____________________________________________

# Dates work performed: ___________________________________________

SUBMIT THIS FORM WITH PROPOSAL

# Text boxes

COMMONWEALTH OF VIRGINIA

###### COUNTY OF HENRICO

DEPARTMENT OF GENERAL SERVICES

CHRISTOPHER L. WINSTEAD, P.E.

DIRECTOR