## Please go to www.ebidexchange.com/henrico for the complete	ADDENDUM NO. 1

TO:	Prospective Bidders and Others Concerned

FROM:	County of Henrico/Draper Aden Associates

DATE:	August 13, 2014

RE:	IFB # 14-9565-2CE

Brook Road (Route 1) 12” and 16” Water Main Improvements

The following changes, corrections, deletions, clarifications, and/or additions constitute Addendum No. 1.  Please acknowledge receipt of this Addendum No. 1, dated August 13, 2014, on the Bid Form when returning your package.  Failure to acknowledge this addendum may result in your bid being declared non-responsive.  All other general terms, conditions, specifications, and drawings shall remain the same.

Additions:

Project Manual Section 02713, Paragraphs 2.21, 2.22, and 2.23:  ADD the following:  “All valves shall be fusion bonded epoxy coated inside and out or shall be field coated with mastic prior to installation.  Mastic shall be Roskote R28 or equal.”

Appendix F, Test Hole Reports:  ADD the attached Appendix F to the Project Manual.

Corrections:

Plan Sheet 24, General Details:  REMOVE Plan Sheet 24 and REPLACE with the attached Plan Sheet 24.

Cecelia H. Stowe, CPPO, C.P.M.

PURCHASING DIRECTOR OF FINANCE

COUNTY OF HENRICO, VIRGINIA

GENERAL SERVICES/PURCHASING

CAROLYN EFFORD, CPPB

(804) 501-5668

eff@co.henrico.va.us

# Text boxes

DEPARTMENT OF GENERAL SERVICES

Christopher L. Winstead P.E.

DIRECTOR

COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO