MANUFACTURED FACILITY

AS-BUILT CERTIFICATION

| Project Name (as it appears on approved plans) : ________________________________ |
| --- |
| Plans approved by the Director of Public Works on: __________________________ |
| As-Built conditions field verified on _________________ Signature _________________________________ Print Name _________________________________ (seal) |
| GENERAL |
| Is the facility located on the site according to the approved plans with respect to distances from ROW, curb lines, parking areas, sidewalks, structures, etc.? | YES / NO |
| Is the facility in need of maintenance (ie. clogged inlets/outlets, accumulation of sediment/trash/debris, etc.)? | YES / NO |
| Is there evidence of geotechnical failure, structural problems, or poor construction methods (slope failure, concrete failure, poorly compacted dam, poorly grouted or separating pipes)? If yes, explain. ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ | YES / NO |
| Are barriers (ie. guardrail, bollards, fencing) provided in accordance with the approved plans? | YES / NO |
| MANUFACTURED FACILITY (StormCeptor, Vortechnics, StormTreat, etc) |
| A letter of certification is required from the manufacturer stating the device was installed according to minimum specifications and that the device is functioning as designed. |